## VIL1C14-calcul-dcp-U-Th
Sample | Lab. Number | mm/top | error | mg | 14C Act. pMC | error | Conv. 14C age / year BP | error | dcp % | error | dcp corrected 14C act. pMC (dcp= 9,4 %) | error | dcp cor. Conv. Ages, yr/1950 | error | mm/top | Calibrated corrected (dcp=9,4%) 14C ages / cal. AD, graph adapted | error+ | error- | 14C age/2000 (dcp=9,4 and cal.) | error+ | error- | total error | mm/top | Age model DG1 | U/TH sample | U/Th ages/1997 ou 2013 | error | Conv. 14C age / year BP | error | mm/top | CALCUL DCP ET ERREUR DCP: | U/Th ages cal. A.D./B.C. | atm. D 14C act. from U/Th ages and calibration curve (Stuiver and Reimer, 93) | D14C error | atm. A 14C act. from U/Th ages and calibration curve (Stuiver and Reimer, 93), pMC | error on Ai, from U/Th error and Stuiver curve pMC | A 14C m init. pMC | dcp % | 14C Act. pMC | error | error on A 14C m init. pMC | error on dcp, pMC |  | mm/top | U/Th ages /1950 | error | Conv. Dcp correc. 14C age BP (/1950) | 14C Growth rate mm/yr | U/Th Growth rate mm/yr | cm/base | laminae Growth rte mm/yr | Laminae age/1990 | Lami. date AD | SAMPLE | cm/base | dcp % | U/Th ages | error | d13C / PDB | d18O / PDB | error isot. | years |  |  | % aug. Erreur due à dcp | 14C Growth rate mm/yr | U/Th Growth rate mm/yr | cm/base | laminae Growth rte mm/yr
14C-C | PA 234 | 3 | 1 | 22.5 | 96.64 | 1 | 274.5475 |  | 9.4 | 1.5 | 106.6667 | 2.5 |  |  | 3 | 1990 | 1989 | 1991 | 10 | 1 | -1 | 1 | 3 | 7.29e-11 |  | 10 | 1 | 274.5475 | 0 | 3 | U/Th ages cal. BP /1950 | [7 empty] | 96.64 | 1 |  |  |  | 3 | [5 empty] | 108.7 |  | 0 | 1990 | 14C-C | 108.7 | 0 | 2 | 2 | -8.87 | -4.76 | 0.1 | 0 | [5 empty] | 108.7
14C-H | PA 276 | 28 | 1 | 12.2 | 86.54 | 0.9 | 1161.2782 |  | 9.4 | 1.5 | 95.5188 | 2.4 | 368.2928 | 201.8793 | 28 | 1942 |  |  | 58 | 2 | -2 | 2 | 28 |  |  | 58 | 2 | 1161.2782 | 0 | 28 | 8 |  | -21 | 1 | 97.9 | 0.1 | 87.1493 | 10.9813 | 86.54 | 0.9 | 3.9115 | 4.0115 |  | 28 | [5 empty] | 108.7 | 0.49 | 51 | 1939 | 14C-H | 106.2 | 1 | 60 | 3 | -8.63 | -5.09 | 0.1 | -83.0825 | A0= |  | 100 |  |  | 106.2 | 0.49
14C-R | PA 694 | 31 | 1 |  | 88.51 | 0.5 | 980.465 |  | 9.4 | 1.5 | 97.6932 | 2 | 187.4796 | 164.4767 | 31 | 1938 |  |  | 62 | 2 | -2 | 2 | 31 |  |  | 62 | 2 |  |  | 31 | 12 |  | -19 | 1 | 98.1 | 0.1 | 89.1763 | 9.0965 | 86.54 | 0.9 | 3.8041 | 3.9041
Vil-stm 1-40 | SacA 32725 | 40 | 1 |  | 88.01 | 0.21 | 1025 | 30 | 9.4 | 1.5 | 97.1413 | 1.71 | 232.9873 | 141.4213 | 40 | 1715 | 1616 | 1814 | 285 | 384 | 186 | 99 | 40 |  |  | 115 | 85 | 1025 | 30 | 40 | [6 empty] | 89.2429
Vil-stm 1-76 | SacA 32726 | 76 | 1 |  | 88 | 0.21 | 1025 | 30 | 9.4 | 1.5 | 97.1302 | 1.71 | 233.9001 | 141.4374 | 76 | 1714.5 | 1616 | 1813 | 285.5 | 384 | 187 | 98.5 | 76 |  |  | 299 | 82 | 1025 | 30 | 76 | [6 empty] | 91.2412
14C-L | PA 290 | 77 | 1 | 43.1 | 86.4 | 0.65 | 1174.2841 | 60 | 9.4 | 1.5 | 95.3642 | 2.15 | 381.2987 | 181.1358 | 77 | 1530 | 1390 | 1670 | 470 | 610 | 330 | 140 | 77 |  |  |  |  | 1174.2841 | 60 | 77 | [8 empty] | 86.4 | 0.65 |  |  |  | 77 | [5 empty] | 106.2 | 0.49 | 132 | 1858 | 14C-L | 101.3 | 2 | 95 | 100 | -9.85 | -4.82 | 0.1 | -167.0086 | 100 |  | 66.8757 |  |  | 101.3 | 0.6
Vil-stm 1-120 | SacA 32727 | 120 | 1 |  | 87.09 | 0.21 | 1110 | 30 | 9.4 | 1.5 | 96.1258 | 1.71 | 317.4011 | 142.9156 | 120 | 1559 | 1438 | 1680 | 441 | 562 | 320 | 121 | 120 |  |  | 426 | 75 | 1110 | 30 | 120 | [6 empty] | 91.6956
Vil-stm 1-160 | SacA 32728 | 160 | 1 |  | 85.49 | 0.21 | 1260 | 30 | 9.4 | 1.5 | 94.3598 | 1.71 | 466.3542 | 145.5909 | 160 | 1456.5 | 1387 | 1526 | 543.5 | 613 | 474 | 69.5 | 160 |  |  | 498 | 35 | 1260 | 30 | 160 | [6 empty] | 90.7984
14C-G | PA 275 | 180 | 1 | 28.7 | 87.4 | 0.65 | 1081.8435 | 60 | 9.4 | 1.5 | 96.468 | 2.15 | 288.8581 | 179.0626 | 180 | 1566 | 1443 | 1689 | 434 | 557 | 311 | 123 | 180 |  | U/Th-C | 519 | 14 | 1081.8435 | 60 | 180 | 472 | 1478 | 10.6 | 1.6 | 101.06 | 0.16 | 93.0631 | 7.913 | 87.4 | 0.65 | 3.2025 | 3.3625 |  | 180 | 472 | 14 |  |  |  | 106.2 | 0.6 | 339 | 1651 | 14C-G | 91 | 3 | 519 | 14 | -9.86 | -4.23 | 0.1 | -251.7954 | Ames= |  |  |  | 0.35 | 91 | 0.5
Vil-stm 1-200 | SacA 32729 | 200 | 1 |  | 84.67 | 0.2 | 1335 | 30 | 9.4 | 1.5 | 93.4547 | 1.7 | 543.7768 | 146.1414 | 200 | 1383.5 | 1275 | 1492 | 616.5 | 725 | 508 | 108.5 | 200 |  |  | 569 | 67 | 1335 | 30 | 200 | [6 empty] | 90.7032
Vil-stm 1-240 | SacA 32730 | 240 | 1 |  | 83.15 | 0.2 | 1480 | 30 | 9.4 | 1.5 | 91.777 | 1.7 | 689.2957 | 148.8135 | 240 | 1302 | 1186 | 1418 | 698 | 814 | 582 | 116 | 240 |  |  | 631 | 68 | 1480 | 30 | 240 | [6 empty] | 89.7454
Vil-stm 1-280 | SacA 32731 | 280 | 1 |  | 83.54 | 0.2 | 1445 | 30 | 9.4 | 1.5 | 92.2075 | 1.7 | 651.7065 | 148.1186 | 280 | 1326 | 1221 | 1431 | 674 | 779 | 569 | 105 | 280 |  |  | 691 | 41 | 1445 | 30 | 280 | [6 empty] | 90.8232
14C-K | PA 289 | 286 | 1 | 34.9 | 83.58 | 0.6 | 1440.8465 | 60 | 9.4 | 1.5 | 92.2517 | 2.1 | 647.8611 | 182.8934 | 286 | 1305.5 | 1159 | 1452 | 694.5 | 841 | 548 | 146.5 | 286 |  | U/Th-H | 682 | 32 | 1440.8465 | 60 | 286 | 635 | 1315 | 0.6 | 1.4 | 100.06 | 0.14 | 90.7678 | 9.2866 | 83.58 | 0.6 | 4.9105 | 5.0505 |  | 286 | 635 | 32 | 644.5 |  |  | 101.3 | 0.6 | 515 | 1475 | 14C-K | 80.4 | 4 | 682 | 32 | -8.536 | -3.38 | 0.1 | -337.4608 | 96.6 | 285.9551 | 67.194 |  | 0.65 | 80.4 | 0.6
Vil-stm 1-320 | SacA 32732 | 320 | 1 |  | 81.86 | 0.19 | 1605 | 30 | 9.4 | 1.5 | 90.3532 | 1.69 | 814.8976 | 150.2698 | 320 | 1163.5 | 1039 | 1288 | 836.5 | 961 | 712 | 124.5 | 320 |  | Vil1-320 | 810 | 30 | 1605 | 30 | 320 | 747 | 1203 | -17 | 1.5 | 98.3 | 0.15 | 90.2871 | 8.1515 |  |  |  | 0.15
14C-B | PA233 | 380 | 1 | 35.6 | 76.31 | 1 | 2171.8516 | 110 | 9.4 | 1.5 | 84.2274 | 2.5 | 1378.8662 | 238.502 | 380 | 656 | 416 | 896 | 1344 | 1584 | 1104 | 240 | 380 |  | U/Th-F | 1374 | 49 | 2171.8516 | 110 | 380 | 1327 | 623 | -18.6 | 1.6 | 98.14 | 0.16 | 90.1085 | 8.1837 | 76.31 | 1 | 4.3943 | 4.5543 |  | 380 | 1327 | 49 | 1294 |  | 0.35 | 101.3 | 0.5 | 675 | 1315 | 14C-B | 71 | 5 | 1374 | 49 |  |  | 0.1 | -424.0233 |  |  | 53.8788 | 0.17 | 0.14 | 71 | 0.59
Vil-stm 1-440 | SacA 32733 | 440 | 1 |  | 78.9 | 0.2 | 1905 | 30 | 9.4 | 1.5 | 87.0861 | 1.7 | 1110.7469 | 156.8314 | 440 | 900.5 | 769 | 1032 | 1099.5 | 1231 | 968 | 131.5 | 440 |  |  | 1109 | 81 | 1905 | 30 | 440 | [6 empty] | 90.2276
14C-J | PA 288 | 495 | 1 | 23.9 | 74.92 | 0.55 | 2319.5232 | 60 | 9.4 | 1.5 | 82.6932 | 2.05 | 1526.5378 | 199.1824 | 495 | 496.5 | 314 | 679 | 1503.5 | 1686 | 1321 | 182.5 | 495 |  | U/Th-B | 1239 | 33 | 2319.5232 | 60 | 495 | 1192 | 758 | -15.9 | 1.6 | 98.41 | 0.16 | 87.0341 | 11.5597 | 74.92 | 0.55 | 2.957 | 3.117 |  | 495 | 1192 | 33 | 1453.5 |  | 0.35 | 91 | 0.5 | 912 | 1078 | 14C-J | 59.5 | 6 | 1239 | 33 | -11.76 | -5.33 | 0.1 | -511.5018 |  |  | 69.8769 | 0.74 |  | 59.5 | 0.48
Vil-stm 1-560 | SacA 32734 | 560 | 1 |  | 74.48 | 0.2 | 2365 | 30 | 9.4 | 1.5 | 82.2075 | 1.7 | 1573.8541 | 166.1411 | 560 | 484.5 | 326 | 643 | 1515.5 | 1674 | 1357 | 158.5 | 560 |  |  | 1454 | 133 | 2365 | 30 | 560 | [6 empty] | 88.8028
14C-I | PA 287 | 665 | 1 | 15.9 | 68.58 | 0.6 | 3029.8005 | 70 | 9.4 | 1.5 | 75.6954 | 2.1 | 2236.8151 | 222.915 | 665 | -290.5 | -544 | -37 | 2290.5 | 2544 | 2037 | 253.5 | 665 |  |  |  |  | 3029.8005 | 70 | 665 | [8 empty] | 68.58 | 0.6 |  |  |  | 665 |  |  | 2240.5 |  | 0.65 | 91 | 0.6 |  |  | 14C-I | 42.5 | 7 |  |  | -10.9 | -5.1 | 0.1 | -599.916 |  |  | 68.5979 | 0.24 | 0.26 | 42.5
Vil-stm 1-680 | SacA 32735 | 680 | 1 |  | 68.71 | 0.2 | 3015 | 30 | 9.4 | 1.5 | 75.8389 | 1.7 | 2221.6022 | 180.0975 | 680 | -233 | -427 | -39 | 2233 | 2427 | 2039 | 194 | 680 |  | Vil1-680 | 2420 | 40 | 3015 | 30 | 680 | 2357 | -407 | -11.6 | 1.5 | 98.84 | 0.15 | 92.0781 | 6.8412 |  |  |  | 0.15
14C-F | PA 274 | 844 | 1 | 25 | 65.06 | 0.55 | 3453.0675 | 60 | 9.4 | 1.5 | 71.8102 | 2.05 | 2660.0821 | 229.3844 | 844 | -783 | -1058 | -508 | 2783 | 3058 | 2508 | 275 | 844 |  | U/Th-E2 | 2586 | 86 | 3453.0675 | 60 | 844 | 2539 | -589 | -2.6 | 1.7 | 99.74 | 0.17 | 88.9552 | 10.8129 | 65.06 | 0.55 | 3.7103 | 3.8803 |  | 844 | 2539 | 86 | 2733 |  | 0.65 | 80.4 | 0.6 |  |  | 14C-F | 24.6 | 8 | 2586 | 86 | -10.88 | -4.82 | 0.1 | -689.286 |  |  | 73.843 | 0.33 | 0.26 | 24.6
14C-E | PA 273 | 1040 | 1 | 27 | 63.43 | 0.55 | 3656.8887 | 70 | 9.4 | 1.5 | 70.011 | 2.05 | 2863.9033 | 235.2823 | 1040 | -1067 | -1321 | -813 | 3067 | 3321 | 2813 | 254 | 1040 |  |  |  |  | 3656.8887 | 70 | 1040 | [8 empty] | 63.43 | 0.55 |  |  |  | 1040 |  |  | 3017 | 0.17 | 0.14 | 80.4 | 0.59 |  |  | 14C-E | 5 | 9 |  |  | -10.53 | -4.58 | 0.1 | -779.6327 |  |  | 70.2485 | 0.87 | 0.48 | 5
14C-A | PA 232 | 1075 | 1 | 77.6 | 62.28 | 0.55 | 3803.8652 | 70 | 9.4 | 1.5 | 68.7417 | 2.05 | 3010.8798 | 239.6294 | 1075 | -1214 | -1499 | -929 | 3214 | 3499 | 2929 | 285 | 1075 |  | U/Th-A | 3067 | 91 | 3803.8652 | 70 | 1075 | 3020 | -1070 | 4.4 | 1.8 | 100.44 | 0.18 | 90.2559 | 10.1394 | 62.28 | 0.55 | 3.475 | 3.655 |  | 1075 | 3020 | 91 | 3164 | 0.17 | 0.14 | 71 | 0.59 |  |  | 14C-A | 1.5 | 10 | 3067 | 91 | -10.73 | -5.4 | 0.1 | -870.9777 |  |  | 70.7882 | 0.16 | 0.48 | 1.5
|  | 1070 |  |  | 62.28 | 0.55 | 3803.8652 | 70 | [16 empty] | Vil1-1070 | 3200 | 90 |  |  | 1070 | 3137 | -1187 | 13.5 | 2 | 101.35 | 0.2 | 91.7198 | 9.5019 |  |  |  | 0.2 | [5 empty] | 0.74 |  | 71 | 0.48 |  |  |  |  | 11 | [5 empty] | -963.3434
[39 empty] | 9.3153 |  |  |  | 2.99 |  |  |  |  | 0.24 | 0.26 | 59.5 | [5 empty] | 13 |  |  | 1.0957 |  |  | -1151.2297
[24 empty] | -3E-14x5 + 3E-10x4 - 9E-07x3 + 0,001x2 - 0,0164x + 8,3186 | [14 empty] | ect= | [8 empty] | 0.24 | 0.26 | 42.5 | [5 empty] | 14 | [5 empty] | -1246.7989
[6 empty] | 1 | 96.64 | -358.1035 | [15 empty] | R² = 0,9874 | [14 empty] | 1.4677 | 1 | [7 empty] | 0.33 | 0.26 | 42.5 | [5 empty] | 15 | [5 empty] | -1343.4859
[8 empty] | -191.8517 | 83.1259 | [38 empty] | 0.33 | 0.26 | 24.6 | [5 empty] | 16 | [5 empty] | -1441.3171
[48 empty] | 0.87 | 0.48 | 24.6 | [5 empty] | 17 | [5 empty] | -1540.32
14C-D | B410 | 520 | 0.5 | 1.5 | 75.26 | 1.4 | 2283.1505 | 150 |  |  |  |  | 2283.1505 | 150 | -52 | -400 | -550 | -100 | 2400 | 2540 | 2090 |  | 520 | [6 empty] | -52 | [8 empty] | 75.26 | 1.4 | [7 empty] | 0.87 | 0.48 | 5 |  |  |  | 14C-D | -52 | 12 |  |  | -23.4 | -11 |  | -1056.7528 | [5 empty] | -52
[48 empty] | 0.16 | 0.48 | 5
[48 empty] | 0.16 | 0.48 | 1.5
8032.926
-52